## Slide 1: Epileptic Seizure Detection Based on EEG Signals and Machine Learning
BSc Thesis

## Slide 2
Overview
Introduction
Data
Method
  EEG Signals
  Feature Extraction
  Machine Learning Problem
  Performance Evaluation
Results and Discussion
Conclusion and Reflection

## Slide 3: Introduction
50 million people suffer from epileptic seizures today
”A High-Performance Seizure Detection Algorithm based on Discrete Wavelet Transform (DWT) and EEG” – Chen et al., 2017
Five frequency bands for EEG
  different wavelet families
  different statistical features
  binary classification
Accuracy: 92.30%, Sensitivity: 91.71%, Specificity: 92.89%

## Slide 4: Project Aim
extract the statistical feature vectors using the same configurations for DWT like Chen et al.
investigate whether the dimensionality reduction methods PCA and t-SNE on the statistical feature vectors can be used to predict just as well in a binary classification setting

## Slide 5: Data
Children’s Hospital, Boston & Massachusetts Institute of Technology (CHB-MIT)
Clinical assessment for the severity of epileptic seizure and candidacy for surgical intervention
24 cases from 23 pediatric patients (one patient had a second recording 1.5 years after the first recording [chb01, chb21])
In most cases each .edf recordings contain exactly one hour of digitized EEG signals using 23 channels.

## Slide 6: Methods

## Slide 7: Flowchart

## Slide 8: EEG Preprocessing and Segments
23 cases; consequently only 18 channels
4-second segments
ictal segments extracted from middle of seizure annotation
interictal segments extracted 1 minute after seizure end
In total, 182 ictal and 182 interictal segments

## Slide 9: Feature Extraction
Coiflet family, coif3, decomposition levels 2-7
Coefficients of each decomposition level:
max, min, mean, std, normalized std, skewness and energy
Discrete Wavelet Transform
Principal Component Analysis (PCA)
t-distributed Stochastic Neighborhood Embedding (t-SNE)
2 components for PCA and t-SNE
Hyperparameter perplexity of different values were investigated

## Slide 10: Machine Learning Problem
Binary Classification Setting
  Is a given signal ictal or interictal?
Support Vector Machine
  Radial Basis Function
Outcomes
  True Positives (TP)
  True Negatives (TN)
  False Positives (FP)
  False Negatives (FN)

## Slide 11: Performance Evaluation

## Slide 12: Results and Discussion

## Slide 13: Comparison of PCA and t-SNE

## Slide 14: t-SNE in-depth

## Slide 15: Model Performance

## Slide 16: Alternative Approaches & Future Work
Hyperparameter Optimization
Ictal and Interictal segments
Shortcomings of t-SNE
  Similarity between points are preserved, not distances between clusters
  Unknown how well it will generalize on other datasets
Forecasting Epileptic Seizures
  RNN (LSTM or newer popular “Transformer” network)

## Slide 17: Conclusion